## Slide 1
Industrial Control System:
Attack & Defence on Modbus and HTTP
Ziyao Wang
Notes: Purpose and background

## Slide 2
Industrial Control System: Attack & Defence on Modbus and HTTP
1.1 Purpose and Background
Notes: Purpose and background

## Slide 3
Machine Learning
Multipath Routing
Moving Target Defence
Deliwala, P. et al. purposed an SDN approach using machine learning to detect the link flooding attack in ICS.
Ndonda, GK. and Sadre, R. put forward an SDN-based multipath routing algorithm to prevent eavesdropping in ICS.
Wang, F. et al. presented an active SDN countermeasure based on moving target defence.
Inspection-based Slow HTTP Defence
Hong, K. et al. designed a countermeasure against slow HTTP attack based on incomplete HTTP requests with long timeout.
Flow-based Traffic Blocking Criteria
Byun, M. et al. discussed the traffic blocking based on IP and ingress port against IP spoofing.
Industrial Control System: Attack & Defence on Modbus and HTTP
1.2 Prior Work
Notes: Their prior work is too generalised without specific consideration of Modbus/TCP protocol, or too complex for slow HTTP attack.

## Slide 4
Generic Base Network
Core
Data Centre
Demilitarised Zone (DMZ)
ASAv
Firewall
2.1 Construction of Base Network
Notes: Finished work: 1. ICS network appliances, deployment, and configuration; 2. Scada-LTS controls OpenPLC; 3. KaliLinux attacks OpenPLC via Modbus/TCP;
ASAv: OSPF, ACLs

## Slide 5
ICS Network
OpenPLC
Controller
Scada-LTS
Monitor
KaliLinux1
Attacker
KaliLinux2
Attacker
Open vSwitch-I
Switch
Open vSwitch-III
Switch
Open vSwitch-II
Switch
Open vSwitch-IV
Switch
(i) Location of OpenPLC and Scada-LTS
(ii) Possible Location of KaliLinux (Attacker)
(iii) Location of Open vSwitch (Defender)
2.2 Construction of ICS Network
Notes: Consider location of KaliLinux and OVSes

## Slide 6
(i) Mechanism of Modbus Attack
(ii) Countermeasure against Modbus Attack
(iii) Implementation of the Countermeasure
3.1 Modbus Attack
Notes: Ref 4 Data 0001 -> manual mode; Ref 5 Data 0001 -> heater on

## Slide 7
SDN Defence App:
Modbus Attack
Packet Processor
Frequency Analyser
Notes: Consider detection interval between cycles, threshold, and flow matching criteria

## Slide 8
(i) Mechanism of HTTP Attack
(ii) Countermeasure against HTTP Attack
(iii) Implementation of the Countermeasure
3.2 HTTP Attack
Notes: Ref 4 Data 0001 -> manual mode; Ref 5 Data 0001 -> heater on

## Slide 9
SDN Defence App:
HTTP Attack
Packet Processor
Frequency Analyser
Notes: Consider detection interval between cycles, threshold, and flow matching criteria

## Slide 10: Slides
Purpose and background
Prior work
Construction of base network
Construction of ICS network
  location of devices
Modbus attack
  mechanism and countermeasure
HTTP attack
  mechanism and countermeasure
Interaction between Scada-LTS and OpenPLC
Attack & defence on Modbus
Attack & defence on HTTP
Demonstration

## Slide 11
Thanks!